## Slide 1: From Alert to Notification SAP APM

## Slide 2: From Alert to Notification
Rule
Monitoring Alert
Create
Alert Type
Create Rule
Configuring Rules
Insert Triggerd Value
Create Notification to S4H
Manage Alert Type
Manage Rules
Costumize Conditions
Identify Alert
Monitor Alerts

## Slide 3: How to create an Alert Type? Step by Step

## Slide 4: How to create an Alert Type? Step by Step
ID
DESCRIPTION
SEVERITY
ORIGIN

## Slide 5: How to create a Rule? Step by Step

## Slide 6: How to create a Rule? Step by Step
TYPE
RULE (NAME)

## Slide 7: Type of Rules
Calculation
Use indicator and attribute data to calculate other indicators. 👉 Example: Calculate pump efficiency using pressure and flow rate.
Scheduled
Run on a defined schedule to trigger Alerts or Notifications. 👉 Example: Send a daily alert if vibration exceeds the allowed limit.
Streaming
Trigger in real-time when data updates. 👉 Example: Notify immediately when pressure drops below the critical threshold.
Aggregation
Aggregate data in the asset hierarchy using Min, Max, or Average functions. 👉 Example: Get the maximum temperature of all pumps in a plant.

## Slide 8: How to create a Rule? Step by Step
Statatic o Dimanic
Selection of Indicator to monitoring
Techobjet or Groups
Selection of kind of output

## Slide 9: How to create a Rule?
Alert Type created previously

## Slide 10: How to create a Notification from an Alert? Step by Step

## Slide 11: How to create a Notification from an Alert?

## Slide 12: How to receive an e-mail notification?

## Slide 13: How to receive an e-mail notification?

## Slide 14: How to receive an e-mail notification?
Example